## Inputs
Methodology adapted from Water Reuse by Asano et al (2007)
Highlighted values may be modified |  |  |  |  | 15 yr GDS MACRS depreciation |  | Construction cost schedule
| Item | Capital cost | Capital cost/kL/h | Useful life | Year | Percent depreciation | Year | Percent investment (post-design)
| Tertiary treatment | 60000000 | 12000 | 20 | 1 | 5% | -2 | 30%
| Pump facilities | 5000000 | 1000 | 20 | 2 | 9.5% | -1 | 40%
| Distribution pipelines | 50000000 | 10000 | 40 | 3 | 8.55% | 0 | 30%
| Onsite plumbing conversions | 10000000 | 2000 | 40 | 4 | 7.7%
| Total construction cost | 125000000 | 25000 |  | 5 | 6.93%
[5 empty] | 6 | 6.23%
| Design | 15000000 | 3000 |  | 7 | 5.9%
| Services during construction | 10000000 | 2000 |  | 8 | 5.9%
| Total cost | 150000000 | 30000 |  | 9 | 5.91%
[5 empty] | 10 | 5.9%
| O&M cost/kL/h | 0.25 |  |  | 11 | 5.91%
| Throughput (kL/h) | 5000 |  |  | 12 | 5.9%
| Lifetime capacity factor | 90% |  |  | 13 | 5.91%
| Annual output | 39447000 |  |  | 14 | 5.9%
[5 empty] | 15 | 5.91%
| Capital contingency factor | 1.1 |  |  | 16 | 2.95%
| O&M contingency factor | 1.25
| Real capital cost escalation | 1%
| Real O&M escalation | 0.5%
| Inflation rate | 2%
| Return on equity | 15%
| Return on debt | 7%
| Percent debt financing | 80%
| Discount rate | 8.6%
| Tax rate | 35%

## Cash flow
[6 empty] | Capital |  | O&M |  |  | After-tax cash flows
Year |  | Capacity factor | Total reclaimed water deliveries | Efficiency | Potable water replaced | Construction | Depreciation | Annual cost | Inflation factor |  | Capital | O&M | Discount factor
2009 | -3 |  |  |  |  | 15091044.7724 |  | 0 | 0.94232 |  | 15091044.7724 |  | 1.2808
2010 | -2 |  |  |  |  | 41976344.6762 |  | 0 | 0.96117 |  | 41976344.6762 |  | 1.1794
2011 | -1 |  |  |  |  | 57658707.0472 |  | 0 | 0.98039 |  | 57658707.0472 |  | 1.086
2012 | 0 |  |  |  |  | 44550000 |  | 0 | 1 |  | 44550000 |  | 1
2013 | 1 | 90% | 39447000 | 90% | 35502300 | 0 | 7209252.5862 | 12636599.9062 | 1.02 |  | -2523238.4052 | 8213789.9391 | 0.92081
2014 | 2 | 90% | 39447000 | 90% | 35502300 | 0 | 13697579.9137 | 12953778.5639 | 1.0404 |  | -4794152.9698 | 8419956.0665 | 0.84789
2015 | 3 | 90% | 39447000 | 90% | 35502300 | 0 | 12327821.9223 | 13278918.4059 | 1.0612 |  | -4314737.6728 | 8631296.9638 | 0.78075
2016 | 4 | 90% | 39447000 | 90% | 35502300 | 0 | 11102248.9827 | 13612219.2578 | 1.0824 |  | -3885787.1439 | 8847942.5176 | 0.71892
2017 | 5 | 90% | 39447000 | 90% | 35502300 |  | 9992024.0844 | 13953885.9612 | 1.1041 |  | -3497208.4295 | 9070025.8748 | 0.66199
2018 | 6 | 90% | 39447000 | 90% | 35502300 |  | 8982728.7224 | 14304128.4988 | 1.1262 |  | -3143955.0528 | 9297683.5242 | 0.60957
2019 | 7 | 90% | 39447000 | 90% | 35502300 |  | 8506918.0517 | 14663162.1242 | 1.1487 |  | -2977421.3181 | 9531055.3807 | 0.5613
2020 | 8 | 90% | 39447000 | 90% | 35502300 |  | 8506918.0517 | 15031207.4935 | 1.1717 |  | -2977421.3181 | 9770284.8708 | 0.51685
2021 | 9 | 90% | 39447000 | 90% | 35502300 |  | 8521336.5568 | 15408490.8016 | 1.1951 |  | -2982467.7949 | 10015519.021 | 0.47592
2022 | 10 | 90% | 39447000 | 90% | 35502300 |  | 8506918.0517 | 15795243.9207 | 1.219 |  | -2977421.3181 | 10266908.5484 | 0.43823
2023 | 11 | 90% | 39447000 | 90% | 35502300 |  | 8521336.5568 | 16191704.5431 | 1.2434 |  | -2982467.7949 | 10524607.953 | 0.40353
2024 | 12 | 90% | 39447000 | 90% | 35502300 |  | 8506918.0517 | 16598116.3271 | 1.2682 |  | -2977421.3181 | 10788775.6126 | 0.37157
2025 | 13 | 90% | 39447000 | 90% | 35502300 |  | 8521336.5568 | 17014729.0469 | 1.2936 |  | -2982467.7949 | 11059573.8805 | 0.34215
2026 | 14 | 90% | 39447000 | 90% | 35502300 |  | 8506918.0517 | 17441798.746 | 1.3195 |  | -2977421.3181 | 11337169.1849 | 0.31505
2027 | 15 | 90% | 39447000 | 90% | 35502300 |  | 8521336.5568 | 17879587.8945 | 1.3459 |  | -2982467.7949 | 11621732.1314 | 0.2901
2028 | 16 | 90% | 39447000 | 90% | 35502300 |  | 4253459.0258 | 18328365.5507 | 1.3728 |  | -1488710.659 | 11913437.6079 | 0.26713
2029 | 17 | 90% | 39447000 | 90% | 35502300 |  | 0 | 18788407.526 | 1.4002 |  | 0 | 12212464.8919 | 0.24598
2030 | 18 | 90% | 39447000 | 90% | 35502300 |  | 0 | 19259996.5549 | 1.4282 |  | 0 | 12518997.7607 | 0.2265
2031 | 19 | 90% | 39447000 | 90% | 35502300 |  | 0 | 19743422.4684 | 1.4568 |  | 0 | 12833224.6045 | 0.20856
2032 | 20 | 60% | 26298000 | 90% | 23668200 | 129639382.1908 | 0 | 13492654.9149 | 1.4859 |  | 129639382.1908 | 8770225.6947 | 0.19205
2033 | 21 | 95% | 41638500 | 95% | 39556575 |  | 6481969.1095 | 21899590.8761 | 1.5157 |  | -2268689.1883 | 14234734.0694 | 0.17684
2034 | 22 | 95% | 41638500 | 95% | 39556575 |  | 12315741.3081 | 22449270.607 | 1.546 |  | -4310509.4578 | 14592025.8946 | 0.16283
2035 | 23 | 95% | 41638500 | 95% | 39556575 |  | 11084167.1773 | 23012747.2993 | 1.5769 |  | -3879458.5121 | 14958285.7445 | 0.14994
2036 | 24 | 95% | 41638500 | 95% | 39556575 |  | 9982232.4287 | 23590367.2565 | 1.6084 |  | -3493781.35 | 15333738.7167 | 0.13807
2037 | 25 | 95% | 41638500 | 95% | 39556575 |  | 8984009.1858 | 24182485.4746 | 1.6406 |  | -3144403.215 | 15718615.5585 | 0.12713
2038 | 26 | 95% | 41638500 | 95% | 39556575 |  | 8076533.5105 | 24789465.86 | 1.6734 |  | -2826786.7287 | 16113152.809 | 0.11706
2039 | 27 | 95% | 41638500 | 95% | 39556575 |  | 7648723.5493 | 25411681.4531 | 1.7069 |  | -2677053.2422 | 16517592.9445 | 0.10779
2040 | 28 | 95% | 41638500 | 95% | 39556575 |  | 7648723.5493 | 26049514.6576 | 1.741 |  | -2677053.2422 | 16932184.5274 | 0.099258
2041 | 29 | 95% | 41638500 | 95% | 39556575 |  | 7661687.4875 | 26703357.4755 | 1.7758 |  | -2681590.6206 | 17357182.3591 | 0.091398
2042 | 30 | 95% | 41638500 | 95% | 39556575 |  | 7648723.5493 | 27373611.7481 | 1.8114 |  | -2677053.2422 | 17792847.6363 | 0.08416
2043 | 31 | 95% | 41638500 | 95% | 39556575 |  | 7661687.4875 | 28060689.403 | 1.8476 |  | -2681590.6206 | 18239448.112 | 0.077495
2044 | 32 | 95% | 41638500 | 95% | 39556575 |  | 7648723.5493 | 28765012.707 | 1.8845 |  | -2677053.2422 | 18697258.2596 | 0.071358
2045 | 33 | 95% | 41638500 | 95% | 39556575 |  | 7661687.4875 | 29487014.526 | 1.9222 |  | -2681590.6206 | 19166559.4419 | 0.065708
2046 | 34 | 95% | 41638500 | 95% | 39556575 |  | 7648723.5493 | 30227138.5906 | 1.9607 |  | -2677053.2422 | 19647640.0839 | 0.060504
2047 | 35 | 95% | 41638500 | 95% | 39556575 |  | 7661687.4875 | 30985839.7692 | 1.9999 |  | -2681590.6206 | 20140795.85 | 0.055713
2048 | 36 | 95% | 41638500 | 95% | 39556575 |  | 3824361.7746 | 31763584.3474 | 2.0399 |  | -1338526.6211 | 20646329.8258 | 0.051301
2049 | 37 | 95% | 41638500 | 95% | 39556575 |  | 0 | 32560850.3145 | 2.0807 |  | 0 | 21164552.7044 | 0.047239
2050 | 38 | 95% | 41638500 | 95% | 39556575 |  | 0 | 33378127.6574 | 2.1223 |  | 0 | 21695782.9773 | 0.043498
2051 | 39 | 95% | 41638500 | 95% | 39556575 |  | 0 | 34215918.6616 | 2.1647 |  | 0 | 22240347.1301 | 0.040053
2052 | 40 | 95% | 41638500 | 95% | 39556575 |  | 0 | 35074738.22 | 2.208 |  | 0 | 22798579.843 | 0.036881
[10 empty] | Present value | 167774417.4505 | 122240317.2636
[10 empty] | Levelized cost factor | 402634336.6332 | kL
[11 empty] | Capital | O&M | Total levelized cost of reclaimed water
[10 empty] | Levelized cost | 0.41669 | 0.3036 | 0.72029 | USD/kL
[13 empty] | 888.4685 | USD/acre-ft

## Conversion factors
Conversion factors
acre foot
1 | acre-foot | = | 1 | acre-foot
1 |  | = | 12 | acre-inch
1 |  | = | 1.2335e+24 | attoliter
1 |  | = | 10344.4898 | barrel
1 |  | = | 7758.3673 | barrel (oil)
1 |  | = | 56067.3563 | bath (Biblical)
1 |  | = | 522720 | board foot
1 |  | = | 35003.2441 | bushel
1 |  | = | 33916.007 | bushel (UK)
1 |  | = | 1009212.4125 | cab (Biblical)
1 |  | = | 1233481837.55 | cc
1 |  | = | 435.6 | ccf
1 |  | = | 123348183.755 | centiliter
1 |  | = | 5606.7356 | cor (Biblical)
1 |  | = | 340.3125 | cord
1 | acre-foot | = | 1233481837.55 | cubic centimeter
1 |  | = | 43560 | cubic foot
1 |  | = | 75271680 | cubic inch
1 |  | = | 1233.4818 | cubic meter
1 |  | = | 1613.3333 | cubic yard
1 |  | = | 5213622.8571 | cup
1 |  | = | 4341248.8922 | cup (UK)
1 |  | = | 12334818.3755 | deciliter
1 |  | = | 12334.8184 | decistere
1 |  | = | 123348.1838 | dekaliter
1 |  | = | 123.3482 | dekastere
1 |  | = | 125126948.571 | dessertspoon
1 |  | = | 104189973.414 | dessertspoon (UK)
1 |  | = | 333671862.857 | dram
1 |  | = | 347299911.38 | dram (UK)
1 | acre-foot | = | 24669636751 | drop
1 |  | = | 2240207.6196 | dry pint
1 |  | = | 1120103.8098 | dry quart
1 |  | = | 1.2335e-12 | exaliter
1 |  | = | 1.2335e+21 | femtoliter
1 |  | = | 325851.4286 | gallon
1 |  | = | 271328.0558 | gallon (UK)
1 |  | = | 0.0012335 | gigaliter
1 |  | = | 10427245.7143 | gill
1 |  | = | 8682497.7845 | gill (UK)
1 |  | = | 12334.8184 | hectoliter
1 |  | = | 336404.1375 | hin (Biblical)
1 |  | = | 5172.2449 | hogshead
1 |  | = | 5606.7356 | homer (Biblical)
1 |  | = | 435.6 | hundred-cubic foot
1 | acre-foot | = | 1233.4818 | kiloliter
1 |  | = | 1233481.8376 | liter
1 |  | = | 4036849.6502 | log (Biblical)
1 |  | = | 1.2335 | megaliter
1 |  | = | 1233481837550 | microliter
1 |  | = | 1233481837.55 | milliliter
1 |  | = | 20020311771.4 | minim
1 |  | = | 20837994682.8 | minim (UK)
1 |  | = | 1233481837550000 | nanoliter
1 |  | = | 41708982.8571 | ounce
1 |  | = | 43412488.9225 | ounce (UK)
1 |  | = | 140012.9762 | peck
1 |  | = | 135664.0279 | peck (UK)
1 |  | = | 1.2335e-09 | petaliter
1 |  | = | 1.2335e+18 | picoliter
1 | acre-foot | = | 2606811.4286 | pint
1 |  | = | 2170624.4461 | pint (UK)
1 |  | = | 1303405.7143 | quart
1 |  | = | 1085312.2231 | quart (UK)
1 |  | = | 1233.4818 | stere
1 |  | = | 83417965.7143 | tablespoon
1 |  | = | 69459982.2759 | tablespoon (UK)
1 |  | = | 5213622.8572 | Taza (Spanish)
1 |  | = | 250253897.143 | teaspoon
1 |  | = | 208379946.828 | teaspoon (UK)
1 |  | = | 1.2335e-06 | teraliter
1 |  | = | 1293.0612 | tun